## 1.Summary
Schedule No. 1: Grand Summary
Item No | Description | Reference | Sub-Activity |  | / Price
|  |  | PKR | USD | FC2 | FC3 | PKR | USD | CNY | CNY
A.Detailed Design
1 | Schedule No 2: Detailed Design including Field Investigations and Capacity Building |  | 146786066 | 4718126 |  |  | 1467861346 | 5242361.95 | 36696533.65
A | Total Detailed Design (Sum Item No. 1) |  | 146786066 | 4718126 |  |  | 1467861346 | 5242361.95 | 36696533.65
B.Construction Works
2 | Schedule No 3: Civil Works |  | 22499562909 | 65323609 |  |  | 40790173429 | 145679190.8179 | 1019754335.725 | 740381985.8955
3 | Schedule No 4: Mechanical Works |  | 1297437353 | 0 |  |  | 1297437353 | 4633704.8321 | 32435933.825 | 23549771.0168
4 | Schedule No 5: Electrical Works |  | 566869292 | 867655 |  |  | 809812692 | 2892188.1857 | 20245317.3 | 14698901.1986
5 | Schedule No 6: SCADA System Works |  | 39951627 | 61152 |  |  | 57074187 | 203836.3821 | 1426854.675 | 1035952.9358
6 | Schedule No 7: Erection, Testing and Commissioning |  | 42560000 | 65145 |  |  | 60800600 | 217145 | 1520015 | 1103591.0168
7 | Schedule No 8: ESHS |  | 30729020 | 208901 |  |  | 89221300 | 318647.5 | 2230532.5 | 1619454.8276
8 | Schedule No 9: Daywork Schedule |  | 5312290 | 132786 |  |  | 42492370 | 151758.4643 | 1062309.25 | 771278.537
B | Total Construction Works (Sum Item No. 2 to 8) |  | 24482422491 | 66659248 |  |  | 43147011931 | 154096471.1821 | 1078675298.275 | 783160935.4281
| TOTAL TENDER PRICE (A+B) |  | 24629208557 | 71377374 |  |  | 44614873277 | 159338833.1321 | 1115371831.925
C | Schedule No 10: Provisional Sum |  | 3970000000 |  |  |  | 3970000000 | 14178571.4286 | 99250000
| GRAND TOTAL (A+B+C) |  | 28599208557 | 71377374 |  |  | 48584873277 | 173517404.5607 | 1214621831.925
| 设计 |  | 1467861346 | 3.021%
| 施工 |  | 43147011931 | 88.81%
| 暂列 |  | 3970000000 | 8.171%
| 合计 |  | 48584873277
| 土方 |  | 40790173429 | 94.54% | 83.96%
| 机械 |  | 1297437353 | 3.007% | 2.67%
| 电力 |  | 809812692 | 1.877% | 1.667%
| 监控及采集系统 |  | 57074187 | 0.1323% | 0.1175%
| 安装、试验、调试 |  | 60800600 | 0.1409% | 0.1251%
| ESHS |  | 89221300 | 0.2068% | 0.1836%
| 计日工 |  | 42492370 | 0.09848% | 0.08746%
| 施工小计 |  | 43147011931 | 100% | 88.81%

## 2.Design
Schedule No. 2: Detailed Design including Field Investigations and Capacity Building
Item No | Description | Reference | Sub-Activity |  | / Price
|  |  | PKR | USD | FC2 | FC3
2 | Detailed Design: Preparation of following documents & performing related activities as per Employers Requirement including but not limited to: 2.1.1 Inception Report 2.2.1Design Review Report 2.2.2. Equipment made available at site/ work methodology prepared for Detailed Field Investigations during Design, such as: •Topographic survey, •Geotechnical Investigations, •Bathymetric survey, •Hydrographic Survey, •Ground Penetration Radar Survey for Existing Utilities Survey, •Drone Survey, •Environmental baseline monitoring, •any other field investigations 2.2.3. Field Investigations teams mobilized 2.3.1 Field Investigations Report 2.4.1 Stage-I Detailed Design Report 2.5.1 Stage-II Detailed Design Report 2.6.1 ESHS Reports & Plans and Implementations during design phase as per ER. 2.7.1 Work Program, Method Statements, Quality Management & Assurance Plan, Safety and Security Plan, Environment and Social Management Plan 2.8. Field Investigations during Construction phase 2.9. As Built Drawings Approved 2.10. O&M Manual Approved 2.11. Provision of licensed Software’s, Hi-Tech Computers, Hi-Tech Laptops, Hi-Tech Mobile Phones etc. as per Employer ‘s Requirements and in accordance with ER Sub Clause 4.1 & 6.6 2.12. Training and Capacity Building for PMU and WASA Staff as per Employer’s Requirement 2.13. Any other Activity To be specified by the Tenderer (if any) |  | 146786066 | 4718126
Total for Schedule No 2 (to be carried forward to Schedule No 1)- Inclusive of Taxes Duties and Miscellaneous charges |  |  | 146786066 | 4718126

## 3.Civil土方
Schedule No. 3: Civil Works
Item No | Description | Reference | Sub-Activity |  | / Price
|  |  | PKR | USD | FC2 | FC3
Sewerage Conveyance SystemLaying of RCC pipes with micro-tunnelling & manholes
3.1 | Pre- and Post-Conditions survey (Crack survey) of buildings/ structures and critical infrastructure and other facilities within the zone of influence as specified in E&S documents & Employer’s Requirements along the route of laying of pipes through micro-tunnelling before laying and after completion of laying of pipes including but not limited to installation, 24-hour monitoring and abandonment of observation wells, probes, sensors and other devices to the satisfaction of all permitting agencies, and implementation of remedial measures and rectification Arrangements related to retrofitting to avoid damages to utility services, private property, persons, animals, or crops, including compensation and remedial measures), (if any), etc in accordance with ER Sub Clause 4.1 & 5.1 |  | 71577720 | 383451 |  |  | 178944000 | 60%
3.2 | Vibration Analysis & monitoring of sensitive receptors i.e. school, over head & underground nearby structures, sensitive buildings, vulnerable structures etc in accordance with ER Sub Clause 4.1 & 5.1 |  | 6710400 | 55920 |  |  | 22368000 | 70%
3.3 | Laying of 1050mm pipe with Micro-tunnelling
3.3.1 | Casting of Reinforced Concrete Pipes (6,000 psi or more) having length of approx. 2.44 m with joints provisions on both sides (Employer’s Requirements) including preparation of reinforcement cage, preparation of concrete mix by batching & mixing plant, Pipe casting with HDPE Linning, with vertical spinning machines, steam or water curing,transportation within factory, storage, provisions of steel moulds for pipes casting, etc. with provision of holes for injection of bentonite slurry & cement slurry and hooks for lifting in pipes, including Testing and in accordance with ER Sub Clause 4.1 & 5.1, for the following internal diameter: 1,050 mm with approximately length of 9,837 m. |  | 403610936 | 1441468 |  |  | 807221976 | 50% | 13.57%
3.3.2 | Laying of the following diameter and length of concrete pipes by micro-tunnelling and pipe jacking method (MTBM) including but not limited to Geological Radar Survey transportation and lowering of micro-tunnelling machines at Jacking Shaft & assembling in the shaft, fixing of jacking frame, intermittent jacking, installation of control unit & slurry separation machine, slurry pumps, generators, removing micro- tunnelling machine from receiving shaft and transportation again to jacking shaft for second drive, transportation of pipes, handling of pipes, installation of pipe, slurry separation machines, generator for power supply, water supply for slurry other uses, transportation of excavated material at designated location, fixing of pipe hoses, earth filling through bentonite, installation of survey control points along drive length within right of way, measurement of settlement at these control points after laying pipes, Drilling water bores for uninterrupted water supply for construction purposes at each active site & manufacturing areas, remedial measures (if any), including Testing and Commissioning of all Works and Preparation of Testing and Commissioning Report and in accordance with ER Sub Clause 4.1 & 5.1 etc. 1,050 mm with approximately length of 9,837 m | Drawing No. LW-TD-021 through Drawing No. LW-TD- 069 | 807241156 | 4324506 |  |  | 2018102836 | 60% | 33.92%
3.3.3 | Construction of all Jacking Shafts along 1050 mm pipeline using Steel Sheet piles or any other technology (Indicative Numbers and Sizes mentioned in Employer’s Requirements, however the contractor may revisit the design to determine the numbers and sizes of Jacking Shafts) including but not limited to geological radar survey for identification and locating underground utilities, drilling of sheet steel piles, excavation of soil, installation of steel bracing at designed depth inside of shafts, construction of concrete slab in foundation, construction & dismantling of two thrust blocks of required sizes, installation of two eyes for micro-tunnelling machine, removing of steel piles after completion of manholes and transportation for installation at another Jacking Shaft, transportation of excavated and dismantled material at designated location, etc. Back filling and compaction of all shafts after completion of micro-tunnelling works including Testing and Commissioning of all Works and Preparation of Testing and Commissioning Report and in accordance with ER Sub Clause 4.1 & 5.1 | Drawing No. LW-TD-141 through Drawing No. LW-TD-153 | 1137246671 | 2187013 |  |  | 1749610311 | 35% | 29.41%
3.3.4 | Construction of all Receiving Shafts along 1050mm pipeline using Steel Sheet piles or any other technology (Indicative Numbers and Sizes mentioned in Employer’s Requirements, however the contractor may revisit the design to determine the numbers and sizes of Receiving Shafts) including geological radar survey for identification and locating underground utilities, drilling of sheet steel piles, excavation of soil, installation of steel bracing at designed depth inside of shafts, construction of concrete slab in foundation, installation of two eyes for micro-tunnelling machine, removing of steel piles after completion of manholes and transportation for installation at another Receiving Shaft, transportation of excavated material at designated location, etc. Back filling and compaction of all shafts after completion of micro- tunnelling works including Testing and Commissioning of all Works and Preparation of Testing and Commissioning Report in accordance with ER Sub Clause 4.1 & 5.1. | Drawing No. LW-TD-141 through Drawing No. LW-TD-153 | 893551056 | 1718367 |  |  | 1374693816 | 35% | 23.11%
| Sub Total for 3.3 (Sum of 3.3.1 to 3.3.4) |  | 3241649819 | 9671354 |  |  | 5949628939 | 45.52% |  | #REF!
3.4 | Laying of 1500mm pipe with Micro-tunnelling
3.4.1 | Casting of Reinforced Concrete Pipes (6,000 psi or more) having length of approx. 2.44 m with joints provisions on both sides (Employer’s Requirements) including preparation of reinforcement cage, preparation of concrete mix by batching & mixing plant, Pipe casting with HDPE Linning, with vertical spinning machines, steam or water curing, transportation within factory, storage, provisions of steel moulds for pipes casting, etc. with provision of holes for injection of bentonite slurry & cement slurry and hooks for lifting in pipes, including Testing and in accordance with ER Sub Clause 4.1 & 5.1, for the following internal diameters: 1,500 mm with approximately length of 5,454 m. |  | 435680468 | 1556001 |  |  | 871360748 | 50% | 21.94%
3.4.2 | Laying of the following diameter and length of concrete pipes by micro-tunnelling and pipe jacking method (MTBM) including but not limited to transportation and lowering of micro-tunnelling machines at Jacking Shaft & assembling in the shaft, fixing of jacking frame, including but not limited to geological radar survey, intermittent jacking, installation of control unit & slurry separation machine, slurry pumps, generators, removing micro-tunnelling machine from receiving shaft and transportation again to jacking shaft for second drive, transportation of pipes, handling of pipes, installation of pipe, slurry separation machines, generator for power supply, Drilling water bores for uninterrupted water supply for construction purposes at each active site & manufacturing areas in accordance with ER Sub Clause 4.1 , 4.19 & 5.1 and water supply for slurry other uses, transportation of excavated material at designated location, fixing of pipe hoses, earth filling through bentonite, installation of survey control points along drive length within right of way, measurement of settlement at these control points after laying pipes, remedial measures (if any), including Testing and Commissioning and Preparation of Testing and Commissioning Report and in accordance with ER Sub Clause 4.1 & 5.1. 1,500 mm with approximately length of 5,454 m. | Drawing No. LW-TD-021 through Drawing No. LW-TD- 069 | 520825727 | 2790137 |  |  | 1302064087 | 60% | 32.78%
3.4.3 | Construction of all Jacking Shafts along 1500mm pipeline using Steel Sheet piles or any other technology (Indicative Numbers and Sizes mentioned in Employer’s Requirements, however the contractor may revisit the design to determine the numbers and sizes of Jacking Shafts) including but not limited to geological radar survey for identification and locating underground utilities, drilling of sheet steel piles, excavation of soil, installation of steel bracing at designed depth inside of shafts, construction of concrete slab in foundation, construction & dismantling of two thrust blocks of required sizes, installation of two eyes for micro-tunnelling machine, removing of steel piles after completion of manholes and transportation for installation at another Jacking Shaft, transportation of excavated and dismantled material at designated location, etc. Back filling and compaction of all shafts after completion of micro-tunnelling works including Testing and Preparation of testing and commissioning report in accordance with ER Sub Clause 4.1 & 5.1 | Drawing No. LW-TD-141 through Drawing No. LW-TD-153 | 654778471 | 1259189 |  |  | 1007351391 | 35% | 25.36%
3.4.4 | Construction of all Receiving Shafts along 1500mm pipeline using Steel Sheet piles or any other technology (Indicative Numbers and Sizes mentioned in Employer’s Requirements, however the contractor may revisit the design to determine the numbers and sizes of Receiving Shafts) including geological radar survey for identification and locating underground utilities, drilling of sheet steel piles, excavation of soil, installation of steel bracing at designed depth inside of shafts, construction of concrete slab in foundation, installation of two eyes for micro-tunnelling machine, removing of steel piles after completion of manholes and transportation for installation at another Receiving Shaft, transportation of excavated material at designated location, etc. Back filling and compaction of all shafts after completion of micro-tunnelling works including Testing and Preparation of testing and commissioning report in accordance with ER Sub Clause 4.1 & 5.1 | Drawing No. LW-TD-141 through Drawing No. LW-TD-153 | 514468739 | 989363 |  |  | 791490379 | 35% | 19.93%
| Sub Total for 3.4 (Sum of 3.4.1 to 3.4.4) |  | 2125753405 | 6594690 |  |  | 3972266605 | 46.49% |  | #REF!
3.5 | Laying of 2400mm pipe with Micro-tunnelling
3.5.1 | Casting of Reinforced Concrete Pipes (6,000 psi or more) having length of approx. 2.44 m with joints provisions on both sides (Employer’s Requirements) including preparation of reinforcement cage, preparation of concrete mix by batching & mixing plant, Pipe casting with HDPE Linning, with vertical spinning machines, steam or water curing, transportation within factory, storage, provisions of steel moulds for pipes casting, etc. with provision of holes for injection of bentonite slurry & cement slurry and hooks for lifting in pipes including Testing Report in accordance with ER Sub Clause 4.1 & 5.1 for the following internal diameters: 2,400 mm with approximately length of 11,582 m. |  | 1880903123 | 6717511 |  |  | 3761806203 | 50% | 33.26%
3.5.2 | Laying of the following diameter and length of concrete pipes by micro-tunnelling and pipe jacking method (MTBM) including but not limited to transportation and lowering of micro-tunnelling machines at Jacking Shaft & assembling in the shaft, fixing of jacking frame, intermittent jacking, Construction of Thrust Block, installation of control unit & slurry separation machine, slurry pumps, generators, removing micro- tunnelling machine from receiving shaft and transportation again to jacking shaft for second drive, transportation of pipes, handling of pipes, installation of pipe, slurry separation machines, generator for power supply, Drilling water bores for uninterrupted water supply for construction purposes at each active site & manufacturing areas in accordance with ER Sub Clause 4.1 ,4.19 & 5.1 and for slurry other uses, transportation of excavated material at designated location, fixing of pipe hoses, earth filling through bentonite, installation of survey control points along drive length within right of way, measurement of settlement at these control points after laying pipes, remedial measures including Testing and Preparation of testing and commissioning report in accordance with ER Sub Clause 4.1 & 5.1 (if any), etc. 2,400 mm with approximately length of 11,582 m. | Drawing No. LW-TD-021 through Drawing No. LW-TD- 069 | 1618004348 | 8667881 |  |  | 4045011028 | 60% | 35.77%
3.5.3 | Construction of all Jacking Shafts along 2400mm pipeline using Steel Sheet piles or any other technology (Indicative Numbers and Sizes mentioned in Employer’s Requirements, however the contractor may revisit the design to determine the numbers and sizes of Jacking Shafts) including but not limited to geological radar survey for identification and locating underground utilities, drilling of sheet steel piles, excavation of soil, installation bracing of steel elements at designed depth inside of shafts, construction of concrete slab in foundation, construction & dismantling of two thrust blocks of required sizes, installation of two eyes for micro-tunnelling machine, removing of steel piles after completion of manholes and transportation for installation at another Jacking Shaft, transportation of excavated and dismantled material at designated location, etc. Back filling and compaction of all shafts after completion of micro-tunnelling works including Testing and Preparation of testing and commissioning report in accordance with ER Sub Clause 4.1 & 5.1 | Drawing No. LW-TD-141 through Drawing No. LW-TD-153 | 1275094888 | 2452105 |  |  | 1961684288 | 35% | 17.34%
3.5.4 | Construction of all Receiving Shafts along 2400mm pipeline using Steel Sheet piles or any other technology (Indicative Numbers and Sizes mentioned in Employer’s Requirements, however the contractor may revisit the design to determine the numbers and sizes of Receiving Shafts) including geological radar survey for identification and locating underground utilities, drilling of sheet steel piles, excavation of soil, installation bracing of steel elements at designed depth inside of shafts, construction of concrete slab in foundation, installation of two eyes for micro-tunnelling machine, removing of steel piles after completion of manholes and transportation for installation at another Receiving Shaft, transportation of excavated material at designated location, etc. Back filling and compaction of all shafts after completion of micro-tunnelling works including Testing and Preparation of testing and commissioning report in accordance with ER Sub Clause 4.1 & 5.1 | Drawing No. LW-TD-141 through Drawing No. LW-TD-153 | 1001860249 | 1926654 |  |  | 1541323369 | 35% | 13.63%
| Sub Total for 3.5 (Sum of 3.5.1 to 3.5.4) |  | 5775862608 | 19764151 |  |  | 11309824888 | 48.93% |  | #REF!
Any other items
3.41 | To be specified by the Tenderer (if any)
Total for Schedule No 3 (to be carried forward to Schedule No 1)- Inclusive of Taxes Duties and Miscellaneous charges |  |  | #REF! | #REF! |  |  | #REF! | #REF!